Pump oil capacity
	Pfieffer Duo 6		0.5l			Leybold Trivac D4B	0.75l
	Pfieffer Duo 5M	0.75l			Leybold Trivac D10B	1.5l manual, 1.3l top of glass
	Pfieffer Duo 2.5	0.4l			Edwards E2M1		0.32l manual, 0.30l top of glass

Vacuum pump oil change ~6 mo. interval
2019-03-15+ clean laser diffusion pump
2019-09-27 
(2020-01-13, New Duo6 replaces Duo5, top up inlet pumps
2020-08-03
(2020-11-23) Extra for laser b/c leaking
2021-02-03
(2021-06-01) Laser pump leaked empty, still works
2021-06-15 Early b/c power outage
2021-Dec-09+Turbos+Clean source
2022-Jun-13
2022-Dec-13; “new”used crappy laser pump between changes
2023-July-17
2024-Jan-18 all five; clean oil diffusion pump
2024-Aug-06 all five
2025-Jan-11 all five
2025-Jul-06 all five
2026-Jan-14 all five
2026-Jul-27 all five

Turbo pump lubricant reservoirs
	2009-07-17
2012-07-24
2015-06-04
2018-09-19
2021-12-09
2024-08-06
NEXT 2027-August-06

Source replacement/cleaning
	2013-02-16
	2016-04-26
	2019-10-11
	2022-02-18
	2026-07-27

NEXT oil change 2027-Jan-27


Reagent distillation:
	2010-10-04	First from new tank
			Almost certainly refill here between last and next
	2014-03-19	(and extra oil change for distillation pump)
	2015-06-16	(and extra oil change for distillation pump)
	2016-12-16	Pullman stuff (dist pump oil same time as the others)
	2018-06-08	First batch from Synquest #1, pump oil 
	2018-10-19	Second batch from Synquest #1, pump oil
	2020-05-08	3rd batch Synquest #1 into kel-F
	2021-08-09	Move Kel-F to metal #1, 4th batch into new metal #2
	2023-11-28	Fill both #1&2, gray cylinder empty, ~200g from blue 

Reagent disposal:
	2019-09-23	26 days
	2020-02-11	43 days
	2020-05-09	16 days + distillation waste
	2021-02-04	50 days – too many
	2021-07-01	55 days – too many
	2021-08-10	Distillation waste only
	2021-10-06	19 days
	2022-05-23	86 days – mostly airlock
	2022-10-14	61 days + Anton accident
	2023-05-24	107 days – too many for airlock. WAY too many for regular chamber
	2023-08-08	38 days
	2023-11-28	41 days + distillation waste
	2024-03-19	29 days
	2024-06-18	24 days
	2024-12-02	46 days
	2025-06-12	32 days
	2025-09-30	38 days
	2026-01-26	29 days
	2026-06-30	33 days

Clean Hg Pump:
	2014-07-30
	2015-02-16
	2016-04-26
	2017-03-08
	2018-11-13
	2020-07-10
	2021-07-07
	2022-07-13
	2023-09-21
	2024-07-30

