Pump oil capacity

Pfieffer Duo 6		0.5l			Leybold Trivac D4B	0.75l

Pfieffer Duo 5M	0.75l			Leybold Trivac D10B	1.5l manual, 1.3l top of glass

Pfieffer Duo 2.5	0.4l			Edwards E2M1		0.32l manual, 0.30l top of glass

Vacuum pump oil change ~6 mo. interval

2019-03-15+ clean laser diffusion pump

2019-09-27

(2020-01-13, New Duo6 replaces Duo5, top up inlet pumps

2020-08-03

(2020-11-23) Extra for laser b/c leaking

2021-02-03

(2021-06-01) Laser pump leaked empty, still works

2021-06-15 Early b/c power outage

2021-Dec-09+Turbos+Clean source

2022-Jun-13

2022-Dec-13; “new”used crappy laser pump between changes

2023-July-17

2024-Jan-18 all five; clean oil diffusion pump

2024-Aug-06 all five

2025-Jan-11 all five

2025-Jul-06 all five

2026-Jan-14 all five

2026-Jul-27 all five

Turbo pump lubricant reservoirs

2009-07-17

2012-07-24

2015-06-04

2018-09-19

2021-12-09

2024-08-06

NEXT 2027-August-06

Source replacement/cleaning

2013-02-16

2016-04-26

2019-10-11

2022-02-18

2026-07-27

NEXT oil change 2027-Jan-27

Reagent distillation:

2010-10-04	First from new tank

Almost certainly refill here between last and next

2014-03-19	(and extra oil change for distillation pump)

2015-06-16	(and extra oil change for distillation pump)

2016-12-16	Pullman stuff (dist pump oil same time as the others)

2018-06-08	First batch from Synquest #1, pump oil

2018-10-19	Second batch from Synquest #1, pump oil

2020-05-08	3rd batch Synquest #1 into kel-F

2021-08-09	Move Kel-F to metal #1, 4th batch into new metal #2

2023-11-28	Fill both #1&2, gray cylinder empty, ~200g from blue

Reagent disposal:

2019-09-23	26 days

2020-02-11	43 days

2020-05-09	16 days + distillation waste

2021-02-04	50 days – too many

2021-07-01	55 days – too many

2021-08-10	Distillation waste only

2021-10-06	19 days

2022-05-23	86 days – mostly airlock

2022-10-14	61 days + Anton accident

2023-05-24	107 days – too many for airlock. WAY too many for regular chamber

2023-08-08	38 days

2023-11-28	41 days + distillation waste

2024-03-19	29 days

2024-06-18	24 days

2024-12-02	46 days

2025-06-12	32 days

2025-09-30	38 days

2026-01-26	29 days

2026-06-30	33 days

Clean Hg Pump:

2014-07-30

2015-02-16

2016-04-26

2017-03-08

2018-11-13

2020-07-10

2021-07-07

2022-07-13

2023-09-21

2024-07-30